## Slide 1: Health & Safety
Policies, Processes, and Procedures
Health & Safety at Work – In Practice
  Working at height
  Confined spaces
  Cable pits
  Noise levels
  Harmful radiation
  Fibre optic cables
Prepare Risk Assessment and Method Statements
Mitigating Fire Risks

## Slide 2: Policies, Processes, and Procedures
Can you think of any of these in your workplace?
What is the difference between each one?

## Slide 3
The policy is the list of rules or the framework for the task. In the case of driving the policy is the rules and regulations for driving.
This demonstrates that a business or organisation has considered certain things.

## Slide 4
The policy is the list of rules or the framework for the task. In the case of driving the policy is the rules and regulations for driving.
This demonstrates that a business or organisation has considered certain things.
The process is the outline of how to get to the destination. Imagine the map showing the driver where they are starting and where they are ending.
This demonstrates that a business or organisation has a plan for how to implement something.

## Slide 5
The policy is the list of rules or the framework for the task. In the case of driving the policy is the rules and regulations for driving.
This demonstrates that a business or organisation has considered certain things.
The process is the outline of how to get to the destination. Imagine the map showing the driver where they are starting and where they are ending.
This demonstrates that a business or organisation has a plan for how to implement something.
Finally, the procedure is the list of exact instructions for every turn the driver needs to take to arrive at the destination.
This demonstrates that a business or organisation has provided detailed guidance on how to actually do something.

## Slide 6
Policy | Process | Procedure
Our policy is to complete regular backups of critical file systems and ensure: an RPO of 24 hours an RTO of 1 hour We must safeguard our data by storing a redundant weekly copy off-site with a third-party contractor providing an SLA of 2 hours should we need access to it. |  | Tapes are stored in Room 673. The key to the locker is stored at reception. Insert a new tape into the tape drive at the end of the day on Monday. The backup will initiate automatically at 11pm. The next morning, remove the tape and duplicate it. Store the original in the locker in room 673. The copy will be collected by our contractor. For issues with the contractor, call 0123456789 and speak to Andy. On other days of the week, repeat the process with the tape marked “Differential”, ensuring it is in before 11pm. The differential tape should be stored on-site in the locker in Room 673.
Complete nightly full backup on first day of week
Store original copy of backup in on-site locker and copy of it in off-site location
Complete differential backup each other day of the week and store on-site

## Slide 7: Health & Safety Act 1974
It is an employer's duty to protect the health, safety and welfare of their employees and other people who might be affected by their business. Employers must do whatever is reasonably practicable to achieve this.
This means making sure that workers and others are protected from anything that may cause harm, effectively controlling any risks to injury or health that could arise in the workplace.

## Slide 8: Health & Safety Act 1974
Employers have duties under health and safety law to assess risks in the workplace. Risk assessments should be carried out that address all risks that might cause harm in your workplace.
Employers must give you information about the risks in your workplace and how you are protected, also instruct and train you on how to deal with the risks.
Employers must consult employees on health and safety issues. Consultation must be either direct or through a safety representative that is either elected by the workforce or appointed by a trade union.

## Slide 9: Health & Safety Act 1974
We need to step through:
Responsibilities of an employer
Rights of an employee
Responsibilities of employees
Can you think of any?

## Slide 10
make the workplace safe
prevent risks to health
ensure that plant and machinery is safe to use
ensure safe working practices are set up and followed
make sure that all materials are handled, stored and used safely
provide adequate first aid facilities
tell you about any potential hazards from the work you do - chemicals and other substances used by the firm - and give you information, instructions, training and supervision as needed
set up emergency plans
make sure that ventilation, temperature, lighting, toilet, washing and rest facilities all meet health, safety and welfare requirements
check that the right work equipment is provided and is properly used and regularly maintained
prevent or control exposure to substances that may damage your health
take precautions against the risks caused by flammable or explosive hazards, electrical equipment, noise and radiation
avoid potentially dangerous work involving manual handling (and if it can't be avoided, take precautions to reduce the risk of injury)
provide health supervision as needed
provide protective clothing or equipment free of charge (if risks can't be removed or adequately controlled by any other means)
ensure that the right warning signs are provided and looked after
report certain accidents, injuries, diseases and dangerous occurrences to either the Health and Safety Executive for Northern Ireland or the local authority, depending on the type of business
Health and Safety Responsibilities of an Employer

## Slide 11
make sure that are properly ventilated, with clean and fresh air
keep temperatures at a comfortable level (a minimum of 13 degrees Centigrade where the work involves physical activity; 16 degrees Centigrade for 'stinter' like offices - there's no maximum limit
light premises so that employees can work and move about safely
keep the workplace and equipment clean
ensure that areas are big enough to allow easy movement (at least 11 cubic metres per person)
provide workstations to suit the employees and the work
keep the equipment in good working order
make floors, walkways, stairs, roadways safe to use
protect people from falling from height or into dangerous substances
store things so they're unlikely to fall and cause injuries
fit openable windows, doors and gates with safety devices if needed
provide suitable washing facilities and clean drinking water
if necessary, provide somewhere for employees to get changed and to store their own clothes
set aside areas for rest breaks and to eat meals, including suitable facilities for pregnant women and nursing mothers
let employees take appropriate rest breaks and the right holiday entitlement
make sure that employees who work alone, or off-site, can do so safely and healthily
Health and Safety Responsibilities of an Employer

## Slide 12
as far as possible, to have any risks to your health and safety properly controlled
to be provided with any personal protective and safety equipment free of charge
to stop work and leave your work area, without being disciplined if you have reasonable concerns about your safety
to tell your employer about any health and safety concerns you have
not to be disciplined if you contact the Health and Safety Executive for Northern Ireland (HSENI), or your local authority, if your employer won't listen to your concerns
to have rest breaks during the working day
to have time off from work during the working week
to have annual paid holiday
Health and Safety Rights of a Employees

## Slide 13
to take reasonable care of your own health and safety
if possible to avoid wearing jewellery or loose clothing if operating machinery
if you have long hair, or wear a headscarf, make sure it's tucked out of the way as it could get caught in machinery
to take reasonable care not to put other people - fellow employees and members of the public - at risk by what you do or don't do in the course of your work
to co-operate with your employer, making sure you get proper training and you understand and follow the company's health and safety policies
not to interfere with or misuse anything that's been provided for your health, safety or welfare
to report any injuries, strains or illnesses you suffer as a result of doing your job, your employer may need to change the way you work
to tell your employer if something happens that might affect your ability to work, like becoming pregnant or suffering an injury - because your employer has a legal responsibility for your health and safety, they may need to suspend you while they find a solution to the issue or problem, but you will normally be paid if this happens
if you drive or operate machinery, you have a responsibility to tell your employer if you take medication that makes you drowsy - if you have, they should temporarily move you to another job if they have one for you to do
Health and Safety Responsibilities of a Employees

## Slide 14: Health & Safety Act 1974
Generally speaking, what do these three different styles of signs indicate?

## Slide 15: Health & Safety Act 1974
WARNING
MANDATORY
PROHIBITED
Generally speaking, what do these three different styles of signs indicate?

## Slide 17: Health & Safety Act 1974
Prohibition signs – do not do these

## Slide 18: Health & Safety Act 1974
Prohibition signs – do not do these

## Slide 19
Prohibition – do not do these

## Slide 20
Prohibition – do not do these

## Slide 21: Health & Safety Act 1974
Fire Safety Signs

## Slide 22: Health & Safety Act 1974
Fire Extinguisher located here
Fire Alarm located here
Directions to fire extinguisher or alarm
Fire Safety Signs

## Slide 23: Health & Safety Act 1974
Fire Safety Signs

## Slide 24: Health & Safety Act 1974
Can you identify the type of fire extinguisher from the images below?
What type of fire should each be used for?

## Slide 25: Health & Safety Act 1974
Can you identify the type of fire extinguisher from the images below?
What type of fire should each be used for?

## Slide 26: Health & Safety Act 1974
Water should only be used on dry substances such as wood, paper and textiles. Using it on an electrical fire risks electrocution.
Foam can be used to contain a fire caused by flammable liquid
As well as dry substances and liquids, powder extinguishers can also be used on gas and electrical fires.
Carbon dioxoide is best used on liquid and electrical fires but is less effective on others.
Wet chemical extinguishers can be used on dry substances and cooking fires.

## Slide 27: Health & Safety Act 1974
Emergency Guidance Signs

## Slide 28: Health & Safety Act 1974
Emergency Guidance Signs

## Slide 29: Health & Safety Act 1974
Location of fire exit or first-aid points
Emergency Guidance Signs

## Slide 30: Health & Safety Act 1974
Mandatory (must do these)

## Slide 31: Health & Safety Act 1974
Mandatory (must do these)

## Slide 32: Health & Safety Act 1974
Mandatory (must do these)

## Slide 33: Health & Safety Act 1974
Mandatory (must do these)

## Slide 34: Health & Safety Act 1974
Warning (beware of these)

## Slide 35: Health & Safety Act 1974
Warning (beware of these)

## Slide 36: Health & Safety Act 1974
Warning (beware of these)

## Slide 37: Health & Safety Act 1974
Warning (beware of these)

## Slide 38: Workplace Hazards

## Slide 40
There are three main principles
Avoid work at height whenever possible
If work at height cannot be avoided, then use equipment to prevent falls.
Where the risk of a fall cannot be completely eliminated then use other measures to minimize the risk, such as fall arrest equipment
Those in control of work must ensure that
Work at height is properly planned and organised
Where applicable, weather conditions are considered
Those involved in the work are trained and competent
The work area and equipment have been inspected and are safe
The work has been risk assessed
An emergency plan is in place in case of an accident
Workplace Hazards – Working at Height

## Slide 41
There is specific legislation designed to protect those who have to work at height.
The Work at Height Regulations 2005
The Work at Height (Amendment) Regulations 2007
Specific guidance for working with ladders:
Short duration of work
Light work not involving heavy lifting
A secure hand hold is available
Ladder is secure and stiles are tied
Do not over reach
Ensure 1-in-4 angle is maintained
There is also guidance for the use of Mobile Elevating Work Platforms (MEWPS), scaffolding, and safety harnesses.
Workplace Hazards – Working at Height

## Slide 43
Workplace Hazards – Noise

## Slide 44
In workplaces with heavy machinery, or other equipment likely to cause severe noise, the levels of the noise should be monitored.
Symptoms such as difficulty holding conversations (specifically sounds such as “t”, “d” and “s”) , not being able to hear a phone ring, and a ringing, whistling, humming or buzzing in the ear.
Employers should carry out a risk assessment, and attempt to eliminate or control the issue
  Quieter equipment
  Add dampening material
  Erect screens or enclosures
  Provide staff with earmuffs, plugs, or semi-inserts
  Provide regular hearing check-ups
Workplace Hazards – Noise

## Slide 45
Radiation can either be ionizing or non-ionizing. Ionizing includes radiation from nuclear material and X-rays. Non-ionizing includes light, infrared (heat), radio waves and lasers.
Workplace Hazards – Radiation
Notes: Lasers
CRT monitors

## Slide 46
Workplace Hazards – Radiation
Notes: Lasers
CRT monitors

## Slide 47
Notes: Lasers
CRT monitors

## Slide 48
What fire risks can you think of that are associated with IT, computers, or electronic equipment?
IT Fire Risks
Notes: Lasers
CRT monitors

## Slide 49
What fire risks can you think of that are associated with IT, computers, or electronic equipment?
Ageing / faulty equipment
Liquid spillage on electronics
Improper routing of cabling
Faulty electrical wiring
Overloading electrical sockets
How could you mitigate (reduce the impact or likelihood) of these risks?
IT Fire Risks
Notes: Lasers
CRT monitors

## Slide 50
Ageing / faulty equipment
A regular maintenance schedule, and using a hardware life-cycle (e.g. replacing/upgrading old kit) can help.
Portable Appliance Testing (PAT) verifies that electrical equipment such as computers and monitors is safe to use.
How often should equipment be PAT tested?
IT Fire Risks
Notes: Lasers
CRT monitors

## Slide 51
Ageing / faulty equipment
A regular maintenance schedule, and using a hardware life-cycle (e.g. replacing/upgrading old kit) can help.
Portable Appliance Testing (PAT) verifies that electrical equipment such as computers and monitors is safe to use.
PAT testing should be completed regularly, but a company can decide if this means every 6, 12, or 18 months, for example.
IT Fire Risks
http://www.hse.gov.uk/electricity/faq-portable-appliance-testing.htm
Notes: Lasers
CRT monitors

## Slide 52
Liquid spillage on electronics
Obviously, electronics and water do not mix well, as water conducts electricity, causing short circuits.
A simple “no open drink containers” policy in server rooms or work areas can mitigate this risk.
IT Fire Risks
Notes: Lasers
CRT monitors

## Slide 53
Improper routing of cabling
The plenum space of a building is where the air-conditioning vents are. Sometimes, network cabling can be routed through these.
Special plenum cabling should be used, which uses fire-retardant materials.
This stops a fire in the plenum space generating smoke, which would seep into all of the rooms of the building.
IT Fire Risks
Notes: Lasers
CRT monitors

## Slide 54
Faulty electrical wiring
Overloading electrical sockets
Hiring a registered/certified electrician to complete any electrical work, and giving consideration to the amount of devices connected to each socket, can mitigate fire risks.
IT Fire Risks
Notes: Lasers
CRT monitors

## Slide 55
Faulty electrical wiring
Overloading electrical sockets
How many devices should you connect to a single electrical socket?
https://goo.gl/i2hyUz
IT Fire Risks
Notes: Lasers
CRT monitors

## Slide 56
Fire Suppression Systems
Any fire burns when it has sufficient Heat, Oxygen and Fuel. Suppression systems are designed to remove one or more of the elements.
Water-based: Sprinklers
These work by drenching the are area they are protecting. This inerts the fuel and stops the spread of fire. The problem with sprinkler systems, is that they can sometimes do more damage than the fire itself!
IT Fire Risks
Notes: Lasers
CRT monitors

## Slide 57
Fire Suppression Systems
Any fire burns when it has sufficient Heat, Oxygen and Fuel. Suppression systems are designed to remove one or more of the elements.
Water-based: Foam
Water mixed with high expansion foam solution such as AFFF, allows the foam to rapidly smother the are with foam. This is not suitable for most common fire suppression applications, but particularly good for large open spaces, where spillage of fuel or other types of combustible liquids are present.
What is the obvious problem with both of these water-based fire suppression systems?
IT Fire Risks
Notes: Lasers
CRT monitors

## Slide 58
Inert Gas Systems
These reduce Oxygen to below 15%. With Oxygen levels at around 15% and below, combustion is not possible. Designed to reduce oxygen levels to below 15% but higher than 12%. This means that it is safe for the occupants of the enclosure to egress safely post discharge.
Synthetic Chemical
These fire suppressants are designed to reduce heat. Basically the agents are very similar to refrigerants. Due to the nature of the fire suppression technique, these refrigerants only require a small concentration. This means less cylinders and lower pressures. Oxygen level are also not significantly reduced which also makes them safe to use within occupied spaces.
Water-based systems are not suitable for total flooding of computer rooms and other typical fire suppression applications.
IT Fire Risks
Notes: Lasers
CRT monitors

## Slide 59
In a typical server room you should find the following:
Smoke detectors
Control panel
Alarm
Warning signs
IT Fire Risks
Notes: Lasers
CRT monitors

## Slide 60
IT Fire Risks

## Slide 61
IT Fire Risks

## Slide 62
IT Fire Risks

## Slide 63
Keep an eye out for burn marks or stains around plug sockets which suggest overheating.
Keep an eye out for frayed or worn cables and wires.
Keep an eye out for flickering lights, blown fuses, or circuit-breakers that trip for no apparent reason.
Always switch off equipment at the mains when it’s not in use and unplug where appropriate.
Protect equipment that’s used in hazardous environments (e.g. extreme weather, temperatures, or corrosive conditions).
Always replace damaged sections of cable completely – don’t simply repair them with insulating tape.
Make sure equipment is fitted with the correctly-rated fuse.
Use proper connectors to join cables – don’t use connector blocks wrapped in insulating tape or splice wires by twisting them together.
Take faulty equipment out of use immediately. Label it appropriately so no one uses it and arrange to have it inspected by a competent person.
Carry out a risk assessment at regular intervals and ensure employees carry out a pre-use check of equipment to check for any obvious faults.
IT Fire Risks

## Slide 64
When you acquire equipment, check that it has a British/European safety mark.
Always follow the manufacturer’s instructions when using a device or piece of equipment.
Buy electrical equipment from a reputable source.
Always use official chargers and cables for devices and equipment.
Don’t leave appliances charging unsupervised for a long time or for longer than specified by the manufacturer’s instructions.
Don’t attempt to charge a battery that looks damaged.
Don’t cover items up when charging as they emit heat. Keep them away from flammable materials.
Don’t leave large appliances running overnight or when no one is in the building during the day (unless they’re designed to, e.g. a fridge).
Don’t overload sockets. Remember that outlets, extension leads, and adaptors will have a limit to how many amps they can take.
Ensure that those who work with electricity have sufficient skills and training.
Ensure smoke alarms are fitted and checked regularly.
Consider using a Residual Current Device (RCD) between electrical supplies and equipment, particularly where there is a high degree of risk (e.g. when working outdoor or in a wet or confined environment with electrical equipment).
IT Fire Risks

## Slide 65
Further Reading
https://www.gov.uk/workplace-fire-safety-your-responsibilities
https://www.gov.uk/government/publications/making-your-premises-safe-from-fire
http://www.hse.gov.uk/electricity/faq-portable-appliance-testing.htm
IT Fire Risks

## Slide 66
https://www.gov.uk/government/uploads/system/uploads/attachment_data/file/422175/9449_Offices_and_Shops_v2.pdf
Fire Risk Assessment

## Slide 67
Risk Assessment for Health & Safety is the process of identifying hazards related to a work environment, or a specific task, and identifying ways to reduce harm.
A Method Statement is a document that gives specific instructions on how to safely perform a work related task.
Description | Link
A case-study demonstrating how a risk assessment can be implemented in an office environment | http://www.hse.gov.uk/risk/casestudies/office.htm
An example of a completed risk assessment | http://www.hse.gov.uk/risk/casestudies/pdf/office.pdf
An interactive guide which can be used to create a basic risk assessment for an office environment | http://records.hse.gov.uk/connect.ti/officeriskassess/view?objectId=27251
General Risk Assessment & Method Statements

## Slide 68
A work method statement, sometimes called a "safe system of work", is a document that details the way a work task or process is to be completed.
The method statement should outline the hazards involved and include a step by step guide on how to do the job safely. These will have been highlighted during the Risk Assessment.
The method statement must also detail which control measures have been introduced to ensure the safety of anyone who is affected by the task or process.
Section 1 – Title, description, company details, dates, addresses, emergency contact numbers, author, H&S contact, issue date / revision number
Section 2 – Summary of hazards and control measures that must be implemented. List of PPE.
Section 3 – Description of the task, training required, permits, procedures, site access, manual handling, scaffolding, preparation, welfare and first aid
Section 4 – Step by step guide
General Risk Assessment & Method Statements

## Slide 69
Which of the following statements is NOT a health and safety requirement in a working environment?
There should be no trailing wires across walkways.
Electrical sockets must not be overloaded (especially with extension leads).
All equipment must be electrically PAT tested every 12 months.
Uncovered drinks should not be located near computer equipment or other electrical devices.
Review

## Slide 70
Which of the following statements is NOT a health and safety requirement in a working environment?
There should be no trailing wires across walkways.
Electrical sockets must not be overloaded (especially with extension leads).
All equipment must be electrically PAT tested every 12 months.
Uncovered drinks should not be located near computer equipment or other electrical devices.
Review

## Slide 71
What legislation is aimed at the physical protection of employees?
Data Protection Act.
Health & Safety at Work Act.
Copyright, Designs and Patents Act.
European Working Time Directive.
Review

## Slide 72
What legislation is aimed at the physical protection of employees?
Data Protection Act.
Health & Safety at Work Act.
Copyright, Designs and Patents Act.
European Working Time Directive.
Review