## Slide 1: Business Continuity

## Slide 2
Business Continuity Concepts
Identify the role of Business Continuity planning in an organisation
Describe Business Continuity concepts such as Redundancy, Load Balancing, Failover, Geographical Diversity, Replication, Mirroring, Hot/Warm/Cold sites
Describe legal requirements for retention of data
Consider how to start migrating to cloud infrastructure
Performing Maintenance
Lifecycle & Change Management

## Slide 3
Business Continuity
Three terms which summarise Business Continuity are:
Resilience
Recovery
Contingency
What do you think these mean?

## Slide 4
Business Continuity
Resilience – ensuring critical business functions, systems, and infrastructure, are designed in such a way that they are unaffected by disruptions
Recovery – ensuring business functions, systems, and infrastructure, can be recovered or restored in the event of a failure
Contingency – establishing a capability and readiness to cope with major incidents, including those which were not expected. Contingencies are a last-resort method of dealing with situations for which resilience and recovery arrangements are insufficient.

## Slide 5
Business Continuity - Overview
Business Continuity is the process of planning how to deal with things that go wrong. It involves:
identifying potential issues
analysing their effect on a business
documenting actions to take to minimise disruption
Therefore a Business Continuity Plan is a simple document which breaks down into all the little sub-plans or procedures to execute when things go wrong.

## Slide 6
Imagine you live with your partner and two young children. They are young enough to be left alone at home for a short while, but not old enough to always think properly for themselves.
You go out for the afternoon and are a two-hours drive away from home. During this time there is a problem – there is a water leak and it affects your prize tropical fish.
The kids call you, and you tell them to shut off the water supply and call the plumber.
Business Continuity - Overview

## Slide 7
Where is the supply shut off valve?
What does it look like?
Which way do they turn it? Left or right?
What is the plumbers number?
How quickly does the plumber need to arrive?
Business Continuity - Overview

## Slide 8
Steps | Methods | Comments
Switch off the water supply to the house | The tap is in the cellar next to the host water boiler. It is green and has a meter on it. It is the only one. | Turn it to the right until it wont go any further. Turn on the tap to check if it has worked. If not, carry on turning to the right.
Call the plumber | 0123 456 789 | Tell him it is urgent because of the fish and I will pay the premium. If he is not there, call another service (next)
Call the emergency plumbing service | 0987 654 321 | Tell them it is urgent and you need it done in one hour
Prepare to save the fish | Get buckets from the garage (on the shelf) | Just get ready. If the plumber comes within an hour, do nothing. If not, call me and then put the fish in the buckets etc.
Business Continuity - Overview

## Slide 9
Business Continuity - Concepts
Redundancy is one way to provide resilience. Can you think of any other examples of redundancy?

## Slide 10
Redundant network connections and hard drives are other examples.
Another form of resilience is the ability to automatically switch from a failed system to a backup system that has been waiting on standby…
Business Continuity - Concepts

## Slide 11
An Active/Passive failover links two systems together. Only one is active at any time. The two systems are able to monitor each other’s state and switch between active and passive modes should there be an issue with either one.
Can you identity any examples of this in your workplace?
Business Continuity - Concepts
Failover

## Slide 12
Business Continuity - Concepts
An Active/Active failover links two systems together. Both are active at any time, with the connecting clients shared between the two using a load balancer. The load balancer can also monitor both linked systems, only using them when they are fully operational.
Can you identity any examples of this in your workplace?
Failover

## Slide 13
Business Continuity - Concepts
Failover configurations must ensure that all systems have access to the same data, and more importantly that it is fully synchronised and updated when the failover occurs – otherwise one system will be working with out-of-date data!
An entire data centre could in theory have a failover data centre. However, it may be extremely complicated to ensure correct replication of data.
Cloud service providers such as Microsoft Azure can manage this process for their customers.
Failover

## Slide 14
WAN / Internet
Europe
Asia
North America
South America
Business Continuity - Concepts
Storing cloud data or systems at multiple hosting locations allows for global coverage – and if there is an issue at any one location, the system is still available via another region.
Changes to data made at any one location must be replicated to all of the others.
Geographical Diversity

## Slide 15
Business Continuity – Concepts
Primary cloud site
Backup cloud site
Backup cloud site
Synchronous Replication
Asynchronous Replication
Primary cloud site
Synchronous replication works in real-time whenever data or systems are modified, allowing the backup site to be brought online with minimal delay.
Asynchronous replication transfers data on a schedule. This is easier to implement and works on network links that have high latency, or are less reliable.
Replication

## Slide 16
Business Continuity – Concepts
The way in which redundancy is provided for an entire cloud operation can be grouped into three categories – Hot, Warm and Cold.
Active Cloud DC
Hot Site 100% Ready
Synchronous data sync
Internet
A Hot Site is a fully synchronised copy of the main cloud data centre or system. All data, systems, and configuration details exist at the backup location.
This allows the backup cloud datacentre to take the role of the primary datacentre very quickly, should there be an issue.
Hot/Warm/Cold Recovery Sites

## Slide 17
Business Continuity – Concepts
Active Cloud DC
Warm Site Not yet functional
Asynchronous data sync
Internet
A Warm Site contains a copy of the main datacentres data, but it may not be fully synchronised.
There may be some data loss and downtime as a result, but it is a cheaper alternative to a hot site and a good compromise.
Similarly, the systems and configuration may not be fully functional, and requires more manual intervention to get up and running.
Hot/Warm/Cold Recovery Sites

## Slide 18
Business Continuity – Concepts
Active Cloud DC
Cold Site
Internet
A Cold Site does not contain a copy of data or any of the IT systems that are needed to take over from the active DC.
It takes much more time to make a cold site operational in the event of a primary failure, however in some situations where the cloud system is not mission critical, this may be acceptable.
Hot/Warm/Cold Recovery Sites

## Slide 19
Business Continuity – RTO
There are two terms which are used to describe or measure recovery from a failure, RTO and RPO.
Recovery Time Objective (RTO) – this is the time it should take to recover from a failed system, and get a backup system up and running. It should be calculated based on the cost of the primary system being non-functional.
How much money do you think Amazon make per hour from sales on their website?

## Slide 20
Business Continuity – RTO
Recovery Time Objective (RTO) – this is the time it should take to recover from a failed system, and get a backup system up and running. It should be calculated based on the cost of the primary system being non-functional.
The main web server in an e-commerce operation failing could cost a company such as Amazon millions of dollars per hour. This would require a very short RTO, perhaps only a few minutes.
However, for a non-critical system that does not seriously impact operations, the RTO may be several days.

## Slide 21
Business Continuity – RPO
Recovery Point Objective (RPO) – this is the point in time which the recovery or fail-over system should be brought online at.
For example, if synchronous replication is in place, the RPO could be very close to zero, perhaps only a few minutes. This must be the case in systems used in industries such as finance and healthcare.
For non mission-critical systems, a large RPO with some data-loss or out-of-date information might be acceptable.

## Slide 22
Business Continuity – RPO / RTO

## Slide 23
Business Continuity – MTBF
MTBF (Mean Time Between Failures) is supposed to indicate how long a component will last. E.g.
1000 hard drives are monitored for 2 months. During this time, 10 fail.
This means that every 2000 months, 10 drives fail, and so each drive should last 2000/10 months – 200 months, which is 16.6 years.
Does this seem accurate?

## Slide 24
Business Continuity – MTBF
1,000 new born babies are monitored for the first 5 years of their life. During this time, 4 die.
This means there were only 4 deaths in 5,000 baby-years, so each baby can expect to live 1,250 years according to the MTBF.
Components such as hard drives now use a statistic called Annualised Failure Rate (AFR) instead. This is the percentage of devices that are expected to fail during a full year of use.

## Slide 25
Business Continuity – MTTR
MTTR (Mean Time To Recover/Repair) is used to indicate how long it takes to recover from a failure, on average.
Mean Time To Recover starts counting when a component fails, and stops when it is working again.
Mean Time To Repair starts counting when a component has started to be fixed/repaired, and stops when it is working again. This is usually shorter than the previous example.

## Slide 26
Business Continuity – MTTF
MTTF – Mean Time To Failure
Whilst MTBF (Mean time Between Failure) measures the average time between a component failing, MTTF measures the time it takes a component in perfect health to fail.

## Slide 27
Business Continuity – MTPoD
MTPoD – Maximum Tolerable Period of Disruption
This is a measure of the largest amount of time that a system can be down, before a business suffers catastrophic failure.
Here, we are not talking about individual components as with the previous examples.
How do you think this number compares to RTO?

## Slide 28
Business Continuity – MTPoD and RTO
Imagine that NASA is controlling a satellite as they try to position it in orbit. Every 8 hours, new instructions have to be transmitted to it. If NASA fail to do this, it will crash into the Earth.
From start to finish, it takes NASA engineers 5 hours to calculate information, set-up instructions, and transmit them to the satellite.
This 5 hours is known as the cycle time, and it directly impacts RTO.

## Slide 29
Business Continuity – MTPoD and RTO
MTPoD = 8 hours
Cycle time = 5 hours
What should the RTO be?

## Slide 31
Business Continuity – Data Retention
Planning for business continuity also has certain legal requirements.
There are certain situations or industries where data must be stored for a minimum (or maximum) length of time.
Can you think of any?

## Slide 32
Business Continuity – Data Retention
Type of Data | Legislation | Duration
Accounts | Companies Act 2006 | 3 years (private), 6 years (public limited)
Children | Limitation Act 1980 | Until aged 21
Communications data | RIP/DRIP | 12 months
Hazardous Substances | RoHS 2008 | 4 years
Income Tax / NI | Income Tax Regulations 1993 | 3 years
Waste Electrical Equipment | WEEE | 4 years
This means organisations must have a data retention policy in place to ensure these types of data are kept until no longer necessary, and/or removed when they should be. Backing up data is not needed just to restore critical systems – there are also legal requirements.

## Slide 33
Business Continuity – SLA and OLA
We have previously looked at Service Level Agreements, which define the minimum level of service a customer is guaranteed.
A related term is Operational Level Agreements (OLAs). These work to support an SLA, and ensure targets are met.
Consider this example.
A company states in their SLA that their customers can expect 99.9% uptime on a critical web server.
What activities would this company have to perform to ensure the uptime guarantee is met?

## Slide 34
Business Continuity – SLA and OLA
A company states in their SLA that their customers can expect 99.9% uptime on a critical web server.
To ensure this target is met, the individual departments at the company would all have an OLA defining activities such as:
Network Operations Team: Reporting internet connectivity faults to the ISP in a set timeframe
IT Support Staff: Performing routine backups to a set schedule
Security Department: Patching and updating web server software
Hardware Support: Performing scheduled hardware maintenance at set times
Each department has their own targets specified in the OLA. Following these procedures ensures the targets set in the SLA can be met.

## Slide 35
Business Continuity – Maintenance
Business Continuity also involves planning for the maintenance of IT systems and equipment. Broadly speaking, this can be done in four ways:
Reactive
Planned / Preventative / Scheduled
Condition-Based
Reactive maintenance means repair it after it breaks. This is obviously not ideal as there is guaranteed to be significant down-time as a result.
It is therefore more costly as a result – both because systems are down, and also because it is harder to replace something once it has broken, than when it just needs minor repairs to stay functional.
Risk-Based

## Slide 36
Business Continuity – Maintenance
Business Continuity also involves planning for the maintenance of IT systems and equipment. Broadly speaking, this can be done in four ways:
Planned maintenance (or sometimes Preventative or even Scheduled) means repair it before it breaks. This reduces the length of any downtime, as systems are easier to repair. It prevents the system from ever reaching a completely failed state.
This is achieved by creating a maintenance schedule, detailing what should be maintained, how often it should be maintained, and what maintenance needs to be performed.
Another consideration is when this should take place. This is known as a maintenance window.
Reactive
Planned / Preventative / Scheduled
Condition-Based
Risk-Based

## Slide 37
Business Continuity – Maintenance
Business Continuity also involves planning for the maintenance of IT systems and equipment. Broadly speaking, this can be done in four ways:
Condition-Based maintenance means don’t repair it – stop it from breaking. It attempts to monitor the health of an IT system or component, and only repair it when necessary.
An example of this is S.M.A.R.T. monitoring of hard drives, which triggers an alert when certain conditions are met and the drive is likely to fail. A hard drive in a failing server can be replaced before it causes an issue.
This drastically reduces downtime from component failure, and time spent performing maintenance, but it can take considerable effort to accurately predict failures.
Reactive
Planned / Preventative / Scheduled
Condition-Based
Risk-Based

## Slide 38
Business Continuity – Maintenance
Business Continuity also involves planning for the maintenance of IT systems and equipment. Broadly speaking, this can be done in four ways:
Risk-Based maintenance means prioritise repairing things that could cause us the most problems. It involves completing a Risk Assessment to identify the components or systems that would be most damaging in the event of a failure.
The maintenance type and frequency are prioritised based on the risk of failure. Assets that have a greater risk and consequence of failure are maintained and monitored more frequently. Assets that carry a lower risk are subjected to less stringent maintenance programs. Implementing a risk-based maintenance process means that the total risk of failure is minimized across the facility in the most economical way.
Reactive
Planned / Preventative / Scheduled
Condition-Based
Risk-Based

## Slide 39
Lifecycle & Change Management
Lifecycle Management refers to the process of introducing new hardware or systems, and retiring existing ones.
As IT assets age, the time and resources invested in maintenance tend to increase – at some point it is more cost effective to commission a new system.
Change Management is the process of ensuring changes to business processes and IT systems configuration are done in a controlled way.

## Slide 40
Cloud Migration
Imagine a company that is planning to migrate much of their existing on-premise IT systems to the cloud.
A cloud provider has been selected which can cater for all needs by offering a mix of IaaS, PaaS and Saas.
How should the company proceed?
System | Business Value | Difficulty Migrating | Failure Risk
Web server | Medium | Easy | Low
Payroll | Critical | Medium | High
IT Helpdesk | Low | Medium | Low

## Slide 41
Cloud Migration
The IT Helpdesk system would be an ideal pilot for the cloud migration.
It has a relatively low business value as if it goes wrong, staff can still contact IT via email or phone.
It has a relatively low impact if there is a failure – it would not matter if there was loss of data
It is not difficult to migrate
System | Business Value | Difficulty Migrating | Failure Risk
Web server | Medium | Easy | Low
Payroll | Critical | Medium | High
IT Helpdesk | Low | Medium | Low

## Slide 42
Review
Which type of failover system uses a load balancer??
Passive/Passive
Passive/Active
Active/Passive
Active/Active

## Slide 43
Review
Which type of failover system uses a load balancer??
Passive/Passive
Passive/Active
Active/Passive
Active/Active

## Slide 44
Review
What are two benefits of asynchronous replication over synchronous?
It updates data quicker
It is cheaper and easier to implement
It works on unreliable network links, or those with high latency
It requires less bandwidth

## Slide 45
Review
What are two benefits of asynchronous replication over synchronous?
It updates data quicker
It is cheaper and easier to implement
It works on unreliable network links, or those with high latency
It requires less bandwidth

## Slide 46
Review
Which of the following statements best describes an OLA?
An SLA supports an OLA
An OLA supports an SLA
SLA’s are for internal customers, OLA’s are for external customers
An OLA and SLA are the same thing

## Slide 47
Review
Which of the following statements best describes an OLA?
An SLA supports an OLA
An OLA supports an SLA
SLA’s are for internal customers, OLA’s are for external customers
An OLA and SLA are the same thing

## Slide 48
Review
A data retention plan is used to do what? (Pick two)
Ensure that data is properly secured
Ensure that a copy of data is stored off-site
Ensure that data storage complies with legal requirements
Ensure that redundant data is removed

## Slide 49
Review
A data retention plan is used to do what? (Pick two)
Ensure that data is properly secured
Ensure that a copy of data is stored off-site
Ensure that data storage complies with legal requirements
Ensure that redundant data is removed

## Slide 50
Review
Which are the four MAIN types of maintenance strategies used by businesses?
Corrective, Preventive, Risk-based, Cost-based.
Preventive, Scheduled, Cost-based, Corrective.
Scheduled, Cost-based, Risk-based, Condition-based.
Corrective, Preventive, Risk-based, Condition-based.

## Slide 51
Review
Which are the four MAIN types of maintenance strategies used by businesses?
Corrective, Preventive, Risk-based, Cost-based.
Preventive, Scheduled, Cost-based, Corrective.
Scheduled, Cost-based, Risk-based, Condition-based.
Corrective, Preventive, Risk-based, Condition-based.